| NAPCO MA 825 |  |
| --- | --- |

MA 825 
TO DISARM: 
Enter your code at keypad. If error is made you must wait 5 seconds before re-entering. 

TO ARM: 
Close all protected doors and windows, even the door near the keypad. Wait for solid green light and then enter your code. Wait for red armed light and exit (30 seconds). 

TO FIND OPEN ZONE: 
Green light will be flashing. Count the number of flashes to determine open zone. 

TO SILENCE SIREN: 
Enter code twice for burglar alarm 

TO RESET SMOKE/FIRE: 
Enter code twice to silence. Open alarm cabinet and wait 5 seconds than close and lock it. If that does not work (for earlier version) then open the cabinet and locate, in the upper right of the green circuit board, the 2 glass fuses with metal ends, and remove them with your fingers. Wait 5 seconds and then plug them back in.

TO CHANGE CODE: 
Open alarm cabinet and locate black slide switch in upper left corner and slide it to far right (normally in center position). Go to keypad (all lights should be flashing and keypad will be beeping), push (S) then user number 1, 2, 3 or 4 then enter new code. Example; to change user 3's code- press (S)+3+(new code). repeate for up to 4 users. When done, slide black switch back to center position and close alarm cabinet. 

TO BYPASS: 
Push (9) & hold until it beeps. Then enter your code. Red light will turn on. 

TO SHUNT: 
Press (S) + (zone number) + (code). Example: To shunt zone 1, push (S), then push (1), then enter your code. 

LIGHTS FLASHING: 
If all lights are flashing on keypad, this indicates no A.C. power going to control. Could be caused by power failure, fuses blown, circuit breakers tripped or transformer is unpluged. To reset the lights, push (9) and hold until it beeps. (note; system can now be armed if needed.) Lights will continue to reflash every 10 minutes until power is restored. 

KEYPAD BEEPING: 
If the keypad is beeping and the alarm has not been tripped, it could be due to being in test mode, or the door chime is activated. Push (9) and hold until it beeps.